## _Gait_SUM.txt
For each gait cycle, various gait parameters are computed. 1 row is one gait cycle.
Group | String | Comments
PATHNAME
FILENAME
| TIMEPOINT | Condition 1
| TESTING | Condition 2
| TRAINING | Condition 3
ANIMAL ID
GAIT
LIMB
SIDE
| ANIMAL | Animal iD
| CONDITION 1 | Index of condition 1 (e.g. post-lesion timing (P0, P3, …))
| CONDITION 2 | Index of condition 2 (e.g. type of stimulation (spont., stim., pharma., combo))
| LIMB SIDE | Considered limb side (left: 1; right: 2)
| SPEED | Treadmill speed
| CYCLE | Gait cycle number
| G ONSET | Time of gait cycle onset (at foot strike; in seconds)
| G END | Time of gait cycle end (at next foot strike; in seconds)
| T ONSET | Frame number at gait cycle onset (at foot strike)
| T END | Frame number at gait cycle end (at next foot strike)
| DURATION | Duration of gait cycle (in seconds)
| VELOCITY | Speed of animal during stride (i.e. ref #12 divided by ref #11)
| ST DUR | Stance duration (time between gait cycle onset and stance end; in seconds)
| SW DUR | Swing duration (time between stance end and gait cycle end; in seconds)
| %ST DUR | Stance duration (in percent; i.e. ref #15 divided by ref #11 times 100)
| Rt=0 HINDLIMBS | R between limb axis angle of the considered limb and the one of the contralateral limb (limb axis angle in XY plane – Crest-MTP) with no time shift
| DOUBLE STANCE | Double stance (in percent of gait cycle duration)
| FLIGHT | Percent of no stance (no limb touches ground) during the full gait cycle duration
| STANCE ONE LIMB | Percent of single stance (a single limb touches ground) during the full gait cycle duration
| STANCE TWO LIMBS | Percent of double stance (two limbs touch ground) during the full gait cycle duration
| STANCE THREE LIMBS | Percent of triple stance (three limbs touch ground) during the full gait cycle duration
| STANCE FOUR LIMBS | Percent of quadruple stance (four limbs touch ground) during the full gait cycle duration
| ST contra HL | Duration between gait cycle onset (of the considered limb) and stance start of contralateral limb (in percent of gait cycle)
| SW contra HL | Duration between gait cycle onset (of the considered limb) and swing start of contralateral limb (in percent of gait cycle duration)
| Rt=0 HL IPSIFL | R min between limb axis angle of the considered limb and the one of the ipsilateral forelimb (limb axis angle in XY plane – Crest-MTP)
| Rt=0 HL CONFL | R min between limb axis angle of the considered limb and the one of the contralateral forelimb (limb axis angle in XY plane – Crest-MTP)
| L STRIDE | Stride length (defined as the distance between the 3D positions of the ankle marker at gait cycle onset and gait cycle end; takes into account treadmill speed)
| L STEP | Step length (defined as the distance between the 3D positions of the ankle marker at stance end and gait cycle end (i.e. Euclidian distance travelled by ankle marker during swing); takes into account treadmill speed)
| L PATH | Path length of ankle marker (i.e. distance travelled by ankle marker from swing start to the end of the gait cycle)
| HIP-END BW | Maximum backward position (X position of crest marker minus X position of ankle marker at gait cycle time when ankle is maximally backward)
| HIP-END FW | Maximum forward position (X position of crest marker minus X position of ankle marker at gait cycle time when ankle is maximally forward)
| STEP HEIGHT nor | Normalized step height (step height subtracted by mean of the positions of ankle marker between the first 10 and 20% of the gait cycle)
| MAX ENDPOINT Vel | Maximal speed of MTP (maximal speed over the entire gait cycle; speed is the module of the time derivative of MTP marker positions on X and Y axes)
| T MAX ENDPOINT Vel | Time of maximal speed of MTP (for a normalized gait cycle duration; time of at which the maximal speed over the entire gait cycle occurs; speed is the module of the time derivative of MTP marker positions on X and Y axes)
| Acc ENDPOINT | Acceleration of MTP at swing onset (calculated as the mean acceleration over the first 5% of instantaneous accelerations during swing phase; acceleration is the module of the double time derivative of MTP marker positions on X and Y axes)
| Vel ENDPOINT | Speed of MTP at swing onset (calculated as the mean speed over the first 5% of instantaneous speeds during swing phase; speed is the module of the time derivative of MTP marker positions on X and Y axes)
| Angle Vel ENPOINT | Angular velocity of MTP at swing onset (calculated as the mean angular velocity over the first 5% of instantaneous angular velocities during swing phase; angular velocity is the arctangent of the time derivative of MTP marker positions on X and Y axes)
| T DRAG | Drag duration (defined as the duration between start of swing and end of drag; in seconds; set to 0 if negative)
| %DRAG | Drag duration in percent of swing duration
| FootLADDER_h | Relative horizontal position of the foot-rung during stance
| FootLADDER_v | Relative vertical position of the foot-rung during stance
| Perc_FootLADDER | Relative horizontal position of the foot (percent distance between rungs)
| FOOT SW LAT | Lateral displacement during swing (defined as the distance between the two positions on Z axis of the ankle marker at start and end of swing)
| STEP WIDTH | Distance between MTP markers at stance end on Z axis
| MAX HipY nor | Normalized maximal position of hip marker on Y axis
| MIN HipY nor | Normalized minimal position of hip marker on Y axis
| AMP HipY | Difference between normalized max and min positions of hip marker on Y axis
| SD MidTrunk XY | SD of mid-trunk elevation in XY plane (sagittal plane) during one gait cycle
| SD MidTrunk XY Vel | SD of velocity of mid-trunk elevation in XY plane (sagittal plane) during one gait cycle
| SD MidHip Z | SD of mid-hip on Z axis during one gait cycle
| SD MidHip Y | SD of mid-hip on Y axis during one gait cycle
| SD MidSh Y | SD of mid-shoulder on Y axis during one gait cycle
| SD MidSh Z | SD of mid-shoulder on Z axis during one gait cycle
| SD Shoulders | SD of shoulder elevation angle in XZ plane during one gait cycle
| SD Hips | SD of hip elevation angle in XZ plane during one gait cycle
| L VirtCOM fw | Difference between max and min position of the virtual COM on X axis – horizontal movement
| L VirtCOM lat | Difference between max and min position of the virtual COM on Z axis – lateral movement
| L VirtCOM vert | Difference between max and min position of the virtual COM on Y axis – vertical movement
| L VirtCOM 3D | Path length of virtual COM (i.e. distance travelled by the virtual center of mass during the full gait cycle)
| MIN ELE 1 | Min of elevation angle – Crest-Hip
| MIN ELE 2 | Min of elevation angle – Hip-Knee
| MIN ELE 3 | Min of elevation angle – Knee-Ankle
| MIN ELE 4 | Min of elevation angle – Ankle-MTP
| MIN ELE 5 | Min of elevation angle – MTP-TIP
| MIN ELE 6 | Min of limb axis angle in XY plane – Crest-MTP
| MAX ELE 1 | Max of elevation angle – Crest-Hip
| MAX ELE 2 | Max of elevation angle – Hip-Knee
| MAX ELE 3 | Max of elevation angle – Knee-Ankle
| MAX ELE 4 | Max of elevation angle – Ankle-MTP
| MAX ELE 5 | Max of elevation angle – MTP-TIP
| MAX ELE 6 | Max of limb axis angle in XY plane – Crest-MTP
| MAX JOINT 1 | Max of joint angle – Hip
| MAX JOINT 2 | Max of joint angle – Knee
| MAX JOINT 3 | Max of joint angle – Ankle
| MAX JOINT 4 | Max of joint angle – MTP
| MAX LIMBLAT | Max of lateral limb axis angle in YZ plane – Crest-MTP
| MAX FOOTROT | Max of foot angle in XZ plane – Ankle-TIP
| MIN JOINT 1 | Min of joint angle – Hip
| MIN JOINT 2 | Min of joint angle – Knee
| MIN JOINT 3 | Min of joint angle – Ankle
| MIN JOINT 4 | Min of joint angle – MTP
| MIN LIMBLAT | Min of lateral limb axis angle in YZ plane – Crest-MTP
| MIN FOOTROT | Min of foot angle in XZ plane – Ankle-TIP
| AMP ELE 1 | Difference between max and min values of elevation angle – Crest-Hip
| AMP ELE 2 | Difference between max and min values of elevation angle – Hip-Knee
| AMP ELE 3 | Difference between max and min values of elevation angle – Knee-Ankle
| AMP ELE 4 | Difference between max and min values of elevation angle – Ankle-MTP
| AMP ELE 5 | Difference between max and min values of elevation angle – MTP-TIP
| AMP LIMB | Difference between max and min values of limb axis angle in XY plane – Crest-MTP
| AMP JOINT 1 | Difference between max and min values of joint angle – Hip
| AMP JOINT 2 | Difference between max and min values of joint angle – Knee
| AMP JOINT 3 | Difference between max and min values of joint angle – Ankle
| AMP JOINT 4 | Difference between max and min values of joint angle – MTP
| AMP LIMBLAT | Difference between max and min values of lateral limb axis angle in YZ plane – Crest-MTP
| AMP FOOTROT | Difference between max and min values of foot angle in XZ plane – Ankle-TIP
| MIN SPEEDLIMB 1 | Min of limb axis angle velocity (in XY plane – Crest-MTP)
| MIN SPEEDJOINT 1 | Min of joint angle velocity – Hip
| MIN SPEEDJOINT 2 | Min of joint angle velocity – Knee
| MIN SPEEDJOINT 3 | Min of joint angle velocity – Ankle
| MIN SPEEDJOINT 4 | Min of joint angle velocity – MTP
| MAX SPEEDLIMB 1 | Max of limb axis angle velocity (in XY plane – Crest-MTP)
| MAX SPEEDJOINT 1 | Max of joint angle velocity – Hip
| MAX SPEEDJOINT 2 | Max of joint angle velocity – Knee
| MAX SPEEDJOINT 3 | Max of joint angle velocity – Ankle
| MAX SPEEDJOINT 4 | Max of joint angle velocity – MTP
| AMP SPEEDLIMB 1 | Difference between max and min values of limb axis angle velocity (in XY plane – Crest-MTP)
| AMP SPEEDJOINT 1 | Difference between max and min values of joint angle velocity – Hip
| AMP SPEEDJOINT 2 | Difference between max and min values of joint angle velocity – Knee
| AMP SPEEDJOINT 3 | Difference between max and min values of joint angle velocity – Ankle
| AMP SPEEDJOINT 4 | Difference between max and min values of joint angle velocity – MTP
| PC1 | PC1 variance resulting from PCA applied on elevation angles of the hindlimb
| PH2 PH1 | Difference between phases of two elevation angles: Hip-Knee minus Crest-Hip
| PH3 PH2 | Difference between phases of two elevation angles: Knee-Ankle minus Hip-Knee
| PH4 PH3 | Difference between phases of two elevation angles: Ankle-MTP minus Knee-Ankle
| PH5 PH4 | Difference between phases of two elevation angles: MTP-TIP minus Ankle-MTP
| R CREST-THIGH | R max between Crest-Hip and Hip-Knee elevation angles
| R THIGH-LEG | R max between Hip-Knee and Knee-Ankle elevation angles
| R LEG-FOOT | R max between Knee-Ankle and Ankle-MTP elevation angles
| R FOOT - TOE | R max between Ankle-MTP and MTP-TIP elevation angles
| R HIP-KNEE | R max between Hip and Knee angles
| R KNEE-ANKLE | R max between Knee and Ankle angles
| R ANKLE-MTP | R max between Ankle and MTP angles
| CREST-THIGH timingMIN | Duration between min of Crest-Hip elevation angle and min of Hip-Knee elevation angle (in percent of gait cycle duration; [-50;50])
| CREST-THIGH timingMAX | Duration between max of Crest-Hip elevation angle and max of Hip-Knee elevation angle (in percent of gait cycle duration; [-50;50])
| THIGH-LEG timingMIN | Duration between min of Hip-Knee elevation angle and min of Knee-Ankle elevation angle (in percent of gait cycle duration; [-50;50])
| THIGH-LEG timingMAX | Duration between max of Hip-Knee elevation angle and max of Knee-Ankle elevation angle (in percent of gait cycle duration; [-50;50])
| LEG-FOOT timingMIN | Duration between min of Knee-Ankle elevation angle and min of Ankle-MTP elevation angle (in percent of gait cycle duration; [-50;50])
| LEG-FOOT timingMAX | Duration between max of Knee-Ankle elevation angle and max of Ankle-MTP elevation angle (in percent of gait cycle duration; [-50;50])
| FOOT-TOE timingMIN | Duration between min of Ankle-MTP elevation angle and min of MTP-TIP elevation angle (in percent of gait cycle duration; [-50;50])
| FOOT-TOE timingMAX | Duration between max of Ankle-MTP elevation angle and max of MTP-TIP elevation angle (in percent of gait cycle duration; [-50;50])
| Yfor STANCE | Mean force during stance phase on Y axis
| Zfor STANCE | Mean force during stance phase on Z axis
| Xfor STANCE | Mean force during stance phase on X axis
| BWS | BWS (body weight support; in percent)
| LIMB_lag | Lag between limb axis angle of reference vs considered limb (limb axis angle in XY plane – Crest-MTP) for minimal R
| LIMB_R | R min between limb axis angle of reference limb and the one of the considered limb (limb axis angle in XY plane – Crest-MTP)
| HIP lag | Lag between Hip angle of reference vs considered limb for minimal R
| HIP R | R min between Hip angle of reference vs considered limb
| KNEE lag | Lag between Knee angle of reference vs considered limb for minimal R
| KNEE R | R min between Knee angle of reference s considered limb
| ANKLE lag | Lag between Ankle angle of reference vs considered limb for minimal R
| ANKLE R | R min between Ankle angle of reference vs considered limb
| MTP lag | Lag between MTP angle of reference vs considered limb for minimal R
| MTP R | R min between MTP angle of reference vs considered limb
| STANCE | Time at stance end / swing onset (if not defined, computed as the time when the angle amplitude of the limb axis is minimal; in seconds)
| STEP HEIGHT | Step height (maximal position of ankle marker on Y axis)
| T DRAG END | Time of drag end
| PC2 | PC2 variance resulting from PCA applied on elevation angles of the limb
| PC3 | PC3 variance resulting from PCA applied on elevation angles of the limb
| PC4 | PC4 variance resulting from PCA applied on elevation angles of the limb
| PCA5 | PC5 variance resulting from PCA applied on elevation angles of the limb
| PC1 | PC1 variance resulting from PCA on elevation angles of the two hindlimbs
| PC2 | PC2 variance resulting from PCA on elevation angles of the two hindlimbs
| PC3 | PC3 variance resulting from PCA on elevation angles of the two hindlimbs
| PC4 | PC4 variance resulting from PCA on elevation angles of the two hindlimbs
| LAG HINDLIMBS | Lag between limb axis angle of the considered limb and the one of the contralateral limb (limb axis angle in XY plane – Crest-MTP) for minimal R
| LAG HL IPSIFL | Lag between limb axis angle of the considered limb and the one of the ipsilateral forelimb (limb axis angle in XY plane – Crest-MTP) for minimal R
| LAG HL CONFL | Lag between limb axis angle of the considered limb and the one of the contralateral forelimb (limb axis angle in XY plane – Crest-MTP) for minimal R
| PH1 | Phase of elevation angle Crest-Hip at maximal amplitude (obtained by FFT)
| AMP1 | Maximal amplitude of elevation angle Crest-Hip (obtained by FFT)
| PH2 | Phase of elevation angle Hip-Knee at maximal amplitude (obtained by FFT)
| AMP2 | Maximal amplitude of elevation angle – Hip-Knee (obtained by FFT)
| PH3 | Phase of elevation angle Knee-Ankle at maximal amplitude (obtained by FFT)
| AMP3 | Maximal amplitude of elevation angle – Knee-Ankle (obtained by FFT)
| PH4 | Phase of elevation angle Ankle-MTP at maximal amplitude (obtained by FFT)
| AMP4 | Maximal amplitude of elevation angle – Ankle-MTP (obtained by FFT)
| PH5 | Phase of elevation angle MTP-TIP at maximal amplitude (obtained by FFT)
| AMP5 | Maximal amplitude of elevation angle – MTP-TIP (obtained by FFT)
| LAG CREST-THIGH | Lag between Crest-Hip and Hip-Knee elevation angles for maximal R
| LAG THIGH-LEG | Lag between Hip-Knee and Knee-Ankle elevation angles for maximal R
| LAG LEG-FOOT | Lag between Knee-Ankle and Ankle-MTP elevation angles for maximal R
| LAG FOOT - TOE | Lag between Ankle-MTP and MTP-TIP elevation angles for maximal R
| LAG HIP-KNEE | Lag between Hip and Knee angles for maximal R
| LAG KNEE-ANKLE | Lag between Knee and Ankle angles for maximal R
| LAG ANKLE-MTP | Lag between Ankle and MTP angles for maximal R
| Kin AVE | ‘0’ if gait cycle is rejected, ‘1’ otherwise
| Xfor singleSTANCE | Mean force during single support stance phase on X axis
| Yfor singleSTANCE | Mean force during single support stance phase on Y axis
| Zfor singleSTANCE | Mean force during single support stance phase on Z axis
| Stance IPSIFORE | Duration between gait cycle onset (of the considered limb) and stance start of forelimb on the same side (in percent of gait cycle)
| Swing IPSIFORE | Duration between gait cycle onset (of the considered limb) and swing start of forelimb on the same side (in percent of gait cycle)
| Stance CONTRAFORE | Duration between gait cycle onset (of the considered limb) and stance start of contralateral forelimb (in percent of gait cycle)
| Swing CONTRAFORE | Duration between gait cycle onset (of the considered limb) and swing start of contralateral forelimb (in percent of gait cycle)
| MAX JOINT TRUNK | Max of joint angle – Trunk
| MIN JOINT TRUNK | Min of joint angle – Trunk
| AMP JOINT TRUNK | Difference between max and min values of joint angle – Trunk
| MAX SPEEDJOINT TRUNK | Max of joint angle velocity – Trunk
| MIN SPEEDJOINT TRUNK | Min of joint angle velocity – Trunk
| AMP SPEEDJOINT TRUNK | Difference between max and min values of joint angle velocity – Trunk
| CHAN_onset | Onset time of EMG burst
| CHAN_end | Offset time of EMG burst
| CHAN_%onset | Onset time of EMG burst in percent of the gait duration
| CHAN_%end | Offset time of EMG burst in percent of the gait duration
| CHAN_burst duration | Burst duration (Offset time minus Onset time)
| CHAN_meanAMP | Mean amplitude of rectified EMG during burst
| CHAN_iEMG | Area under the curve of rectified EMG during burst (using trapeze method)
| CHAN_RMS | Root mean square of rectified EMG during burst
| CoCo EMG1_EMG2 | Percent of co-contraction of a pair of antagonist muscles

## _MEAN_SUM.txt
For each limb, various gait parameters are averaged over the non-rejected gait cycles. 1 row is one limb.
Group | String | Comments
PATHNAME
FILENAME
| TIMEPOINT | Condition 1
| TESTING | Condition 2
| TRAINING | Condition 3
ANIMAL ID
GAIT
LIMB
SIDE
| ANIMAL | Animal iD
| COND1 | Index of condition 1
| COND2 | Index of condition 2
| SIDE | Limb side (left=1 ; right=2)
| SPEED | Treadmill speed (in cm/s)
| PCAx | Variance on first PC (PCA applied on X MTP values)
| PCAy | Variance on first PC (PCA applied on Y MTP values)
| PCAz | Variance on first PC (PCA applied on Z MTP values)
| PCAxy | Mean of PCAx and PCAy
| PCAxyz | Mean of PCAx, PCAy and PCAz
| Animal | Animal iD
| Condition1 | Index of condition 1 (index minus 1)
| Condition2 | Index of condition 2 (index minus 1)
| LimbSide | Limb side (left=1 ; right=2)
| Speed | Treadmill speed
| MinFootspeed | Min of mean of elevation angle velocity – MTP-TIP
| MaxFootspeed | Max of mean of elevation angle velocity – MTP-TIP
| AMPFootspeed | Max amplitude of mean of elevation angle velocity – MTP-TIP
| MeanFootspeed | Mean amplitude of mean of elevation angle velocity – MTP-TIP
| MinLimbspeed | Min of mean of limb axis angle velocity in XY plane (Crest-MTP)
| MaxLimbspeed | Max of mean of limb axis angle velocity in XY plane (Crest-MTP)
| AMPLimbspeed | Max amplitude of mean of limb axis angle velocity in XY plane (Crest-MTP)
| MeanLimbspeed | Mean amplitude of mean of limb axis angle velocity in XY plane (Crest-MTP)
| MinHipspeed | Min of mean of joint angle velocity – Hip
| MaxHipspeed | Max of mean of joint angle velocity – Hip
| AMPHipspeed | Max amplitude of mean of joint angle velocity – Hip
| MeanHipspeed | Mean amplitude of mean of joint angle velocity – Hip
| MinKneespeed | Min of mean of joint angle velocity – Knee
| MaxKneespeed | Max of mean of joint angle velocity – Knee
| AMPKneespeed | Max amplitude of mean of joint angle velocity – Knee
| MeanKneespeed | Mean amplitude of mean of joint angle velocity – Knee
| MinAnklespeed | Min of mean of joint angle velocity – Ankle
| MaxAnklespeed | Max of mean of joint angle velocity – Ankle
| AMPAnklespeed | Max amplitude of mean of joint angle velocity – Ankle
| MeanAnklespeed | Mean amplitude of mean of joint angle velocity – Ankle
| MinMTPspeed | Min of mean of joint angle velocity – MTP
| MaxMTPspeed | Max of mean of joint angle velocity – MTP
| AMPMTPspeed | Max amplitude of mean of joint angle velocity – MTP
| MeanMTPspeed | Mean amplitude of mean of joint angle velocity – MTP
| MinAB/AD PELVISspeed | Min of limb axis angle velocity in YZ plane (Crest-MTP)
| MaxAB/AD PELVISspeed | Max of limb axis angle velocity in YZ plane (Crest-MTP)
| AMPAB/AD PELVISspeed | Max amplitude of limb axis angle velocity in YZ plane (Crest-MTP)
| MeanAB/AD PELVISspeed | Mean amplitude of limb axis angle velocity in YZ plane (Crest-MTP)
| MinROT PELVISspeed | Min of foot angle velocity in XZ plane (Ankle-TIP)
| MaxROT PELVISspeed | Max of foot angle velocity in XZ plane (Ankle-TIP)
| AMPROT PELVISspeed | Max amplitude of foot angle velocity in XZ plane (Ankle-TIP)
| MeanROT PELVISspeed | Mean amplitude of foot angle velocity in XZ plane (Ankle-TIP)
| SD crest | Standard deviation on elevation angle – Crest-Hip
| SD thigh | Standard deviation on elevation angle – Hip-Knee
| SD leg | Standard deviation on elevation angle – Knee-Ankle
| SD foot | Standard deviation on elevation angle – Ankle-MTP
| SD toe | Standard deviation on elevation angle – MTP-TIP
| SD limb | Standard deviation on limb axis angle in XY plane – Crest-MTP
| SD hip | Standard deviation on joint angle – Hip
| SD knee | Standard deviation on joint angle – Knee
| SD ankle | Standard deviation on joint angle – Ankle
| SD MTP | Standard deviation on joint angle – MTP
| SD AB/AD pelvis | Standard deviation on limb axis angle in YZ plane – Crest-MTP
| SD ROT pelvis | Standard deviation on foot angle in XZ plane – Ankle-TIP
| lag LIMB | Lag between limb axis angle in XY plane (Crest-MTP) of studied vs reference animal
| R LIMB | R max between limb axis angle in XY plane (Crest-MTP) of studied vs reference animal
| lag HIP | Lag between Hip angle of studied vs reference animal
| R HIP | R max between Hip angle of studied vs reference animal
| lag KNEE | Lag between Knee angle of studied vs reference animal
| R KNEE | R max between Knee angle of studied vs reference animal
| lag ANKLE | Lag between Ankle angle of studied vs reference animal
| R ANKLE | R max between Ankle angle of studied vs reference animal
| lag MTP | Lag between MTP angle of studied vs reference animal
| R MTP | R max between MTP angle of studied vs reference animal
| lag LIMBspeed | Lag between limb axis angle velocity in XY plane (Crest-MTP) of studied vs reference animal
| R LIMBspeed | R max between limb axis angle velocity in XY plane (Crest-MTP) of studied vs reference animal
| lag HIPspeed | Lag between Hip angle velocity of studied vs reference animal
| R HIPspeed | R max between Hip angle velocity of studied vs reference animal
| lag KNEEspeed | Lag between Knee angle velocity of studied vs reference animal
| R KNEEspeed | R max between Knee angle velocity of studied vs reference animal
| lag ANKLEspeed | Lag between Ankle angle velocity of studied vs reference animal
| R ANKLEspeed | R max between Ankle angle velocity of studied vs reference animal
| lag MTPspeed | Lag between MTP angle velocity of studied vs reference animal
| R MTPspeed | R max between MTP angle velocity of studied vs reference animal
| LAG HIP-HIP | Lag between hip and hip angles for maximal R à UTILITE?
| R HIP-HIP | R max between hip and hip angles à UTILITE?
| LAG HIP-KNEE | Lag between hip and knee angles for maximal R
| R HIP-KNEE | R max between hip and knee angles
| LAG HIP-ANKLE | Lag between hip and ankle angles for maximal R
| R HIP-ANKLE | R max between hip and ankle angles
| LAG HIP-MTP | Lag between hip and MTP angles for maximal R
| R HIP-MTP | R max between hip and MTP angles
| LAG KNEE-HIP | Lag between knee and hip angles for maximal R
| R KNEE-HIP | R max between knee and hip angles à UTILITE?
| LAG KNEE-KNEE | Lag between knee and knee angles for maximal R
| R KNEE-KNEE | R max between knee and knee angles
| LAG KNEE-ANKLE | Lag between knee and ankle angles for maximal R
| R KNEE-ANKLE | R max between knee and ankle angles
| LAG KNEE-MTP | Lag between knee and MTP angles for maximal R
| R KNEE-MTP | R max between knee and MTP angles
| LAG ANKLE-HIP | Lag between ankle and hip angles for maximal R
| R ANKLE-HIP | R max between ankle and hip angles
| LAG ANKLE-KNEE | Lag between ankle and knee angles for maximal R
| R ANKLE-KNEE | R max between ankle and knee angles
| LAG ANKLE-ANKLE | Lag between ankle and ankle angles for maximal R
| R ANKLE-ANKLE | R max between ankle and ankle angles
| LAG ANKLE-MTP | Lag between ankle and MTP angles for maximal R
| R ANKLE-MTP | R max between ankle and MTP angles
| LAG MTP-HIP | Lag between MTP and hip angles for maximal R
| R MTP-HIP | R max between MTP and hip angles
| LAG MTP-KNEE | Lag between MTP and knee angles for maximal R
| R MTP-KNEE | R max between MTP and knee angles
| LAG MTP-ANKLE | Lag between MTP and ankle angles for maximal R
| R MTP-ANKLE | R max between MTP and ankle angles
| LAG MTP-MTP | Lag between MTP and MTP angles for maximal R
| R MTP-MTP | R max between MTP and MTP angles
| DURATION | Duration between first gait cycle onset and last gait cycle onset
| lag LIMB Left-Right | Lag between limb axis angles (in XY plane (Crest-MTP)) of considered limb and contralateral limb for minimal R
| R LIMB Left-Right | R min between limb axis angles (in XY plane (Crest-MTP)) of considered limb and contralateral limb
| DURATION | Duration between first gait cycle onset and last gait cycle onset à UTILITE? cf 102
| Rmin at t=0 | R between limb axis angles (in XY plane (Crest-MTP)) of considered limb and contralateral limb without time shift
ß this is not a Rmin!
| FFT INTERLIMB | Absolute difference between mean phases of limb axis angles (in XY plane (Crest-MTP)) of considered limb and contralateral limb (obtained by FFT)
| SD crest 0-10 | Standard deviation on the mean Crest-Hip elevation angle during the first 10% of the gait cycle duration
| SD crest 10-20 | Standard deviation on the mean Crest-Hip elevation angle between the 10% and 20% of the gait cycle duration
| SD crest 20-30 | Standard deviation on the mean Crest-Hip elevation angle between the 20% and 30% of the gait cycle duration
| SD crest 30-40 | ‘’
| SD crest 40-50 | ‘’
| SD crest 50-60 | ‘’
| SD crest 60-70 | ‘’
| SD crest 70-80 | ‘’
| SD crest 80-90 | ‘’
| SD crest 90-100 | Standard deviation on the mean Crest-Hip elevation angle during the last 10% of the gait cycle
| SD crest MID-STANCE | Standard deviation on the mean Crest-Hip elevation angle during the mid-stance phase (between the 20% and 50% of the gait cycle duration)
| SD crest MID-SWING | Standard deviation on the mean Crest-Hip elevation angle during the mid-swing phase (between the 80% and 90% of the gait cycle duration)
| SD thigh 0-10 | Standard deviation on the mean Hip-Knee elevation angle
| SD thigh 10-20 | ‘’
| SD thigh 20-30 | ‘’
| SD thigh 30-40 | ‘’
| SD thigh 40-50 | ‘’
| SD thigh 50-60 | ‘’
| SD thigh 60-70 | ‘’
| SD thigh 70-80 | ‘’
| SD thigh 80-90 | ‘’
| SD thigh 90-100 | ‘’
| SD thigh MID-STANCE | ‘’
| SD thigh MID-SWING | ‘’
| SD leg 0-10 | Standard deviation on the mean Knee-Ankle elevation angle
| SD leg 10-20 | ‘’
| SD leg 20-30 | ‘’
| SD leg 30-40 | ‘’
| SD leg 40-50 | ‘’
| SD leg 50-60 | ‘’
| SD leg 60-70 | ‘’
| SD leg 70-80 | ‘’
| SD leg 80-90 | ‘’
| SD leg 90-100 | ‘’
| SD leg MID-STANCE | ‘’
| SD leg MID-SWING | ‘’
| SD foot 0-10 | Standard deviation on the mean Ankle-MTP elevation angle
| SD foot 10-20 | ‘’
| SD foot 20-30 | ‘’
| SD foot 30-40 | ‘’
| SD foot 40-50 | ‘’
| SD foot 50-60 | ‘’
| SD foot 60-70 | ‘’
| SD foot 70-80 | ‘’
| SD foot 80-90 | ‘’
| SD foot 90-100 | ‘’
| SD foot MID-STANCE | ‘’
| SD foot MID-SWING | ‘’
| SD toe 0-10 | Standard deviation on the mean MTP-TIP elevation angle
| SD toe 10-20 | ‘’
| SD toe 20-30 | ‘’
| SD toe 30-40 | ‘’
| SD toe 40-50 | ‘’
| SD toe 50-60 | ‘’
| SD toe 60-70 | ‘’
| SD toe 70-80 | ‘’
| SD toe 80-90 | ‘’
| SD toe 90-100 | ‘’
| SD toe MID-STANCE | ‘’
| SD toe MID-SWING | ‘’
| SD limb 0-10 | Standard deviation on the mean limb axis angle (Crest-Hip) in XY plane
| SD limb 10-20 | ‘’
| SD limb 20-30 | ‘’
| SD limb 30-40 | ‘’
| SD limb 40-50 | ‘’
| SD limb 50-60 | ‘’
| SD limb 60-70 | ‘’
| SD limb 70-80 | ‘’
| SD limb 80-90 | ‘’
| SD limb 90-100 | ‘’
| SD limb MID-STANCE | ‘’
| SD limb MID-SWING | ‘’
| SD hip 0-10 | Standard deviation on the mean Hip angle
| SD hip 10-20 | ‘’
| SD hip 20-30 | ‘’
| SD hip 30-40 | ‘’
| SD hip 40-50 | ‘’
| SD hip 50-60 | ‘’
| SD hip 60-70 | ‘’
| SD hip 70-80 | ‘’
| SD hip 80-90 | ‘’
| SD hip 90-100 | ‘’
| SD hip MID-STANCE | ‘’
| SD hip MID-SWING | ‘’
| SD knee 0-10 | Standard deviation on the mean Knee angle
| SD knee 10-20 | ‘’
| SD knee 20-30 | ‘’
| SD knee 30-40 | ‘’
| SD knee 40-50 | ‘’
| SD knee 50-60 | ‘’
| SD knee 60-70 | ‘’
| SD knee 70-80 | ‘’
| SD knee 80-90 | ‘’
| SD knee 90-100 | ‘’
| SD knee MID-STANCE | ‘’
| SD knee MID-SWING | ‘’
| SD ankle 0-10 | Standard deviation on the mean Ankle angle
| SD ankle 10-20 | ‘’
| SD ankle 20-30 | ‘’
| SD ankle 30-40 | ‘’
| SD ankle 40-50 | ‘’
| SD ankle 50-60 | ‘’
| SD ankle 60-70 | ‘’
| SD ankle 70-80 | ‘’
| SD ankle 80-90 | ‘’
| SD ankle 90-100 | ‘’
| SD ankle MID-STANCE | ‘’
| SD ankle MID-SWING | ‘’
| SD MTP 0-10 | Standard deviation on the mean MTP angle
| SD MTP 10-20 | ‘’
| SD MTP 20-30 | ‘’
| SD MTP 30-40 | ‘’
| SD MTP 40-50 | ‘’
| SD MTP 50-60 | ‘’
| SD MTP 60-70 | ‘’
| SD MTP 70-80 | ‘’
| SD MTP 80-90 | ‘’
| SD MTP 90-100 | ‘’
| SD MTP MID-STANCE | ‘’
| SD MTP MID-SWING | ‘’
| SD ABpelvis 0-10 | Standard deviation on the mean limb axis angle (Crest-MTP) in YZ plane
| SD ABpelvis 10-20 | ‘’
| SD ABpelvis 20-30 | ‘’
| SD ABpelvis 30-40 | ‘’
| SD ABpelvis 40-50 | ‘’
| SD ABpelvis 50-60 | ‘’
| SD ABpelvis 60-70 | ‘’
| SD ABpelvis 70-80 | ‘’
| SD ABpelvis 80-90 | ‘’
| SD ABpelvis 90-100 | ‘’
| SD ABpelvis MID-STANCE | ‘’
| SD ABpelvis MID-SWING | ‘’
| SD ROTpelvis 0-10 | Standard deviation on the mean foot angle (Ankle-TIP) in XZ plane
| SD ROTpelvis 10-20 | ‘’
| SD ROTpelvis 20-30 | ‘’
| SD ROTpelvis 30-40 | ‘’
| SD ROTpelvis 40-50 | ‘’
| SD ROTpelvis 50-60 | ‘’
| SD ROTpelvis 60-70 | ‘’
| SD ROTpelvis 70-80 | ‘’
| SD ROTpelvis 80-90 | ‘’
| SD ROTpelvis 90-100 | ‘’
| SD ROTpelvis MID-STANCE | ‘’
| SD ROTpelvis MID-SWING | ‘’
| ANIMAL | Animal iD
| CONDITION 1 | Index of condition 1 (e.g. post-lesion timing (P0, P3, …))
| CONDITION 2 | Index of condition 2 (e.g. type of stimulation (spont., stim., pharma., combo))
| LIMB SIDE | Considered limb side (left: 1; right: 2)
| SPEED | Treadmill speed
| CYCLE | Gait cycle number
| G ONSET | Time of gait cycle onset (at foot strike; in seconds)
| G END | Time of gait cycle end (at next foot strike; in seconds)
| T ONSET | Frame number at gait cycle onset (at foot strike)
| T END | Frame number at gait cycle end (at next foot strike)
| DURATION | Duration of gait cycle (in seconds)
| VELOCITY | Speed of animal during stride (i.e. ref #12 divided by ref #11)
| ST DUR | Stance duration (time between gait cycle onset and stance end; in seconds)
| SW DUR | Swing duration (time between stance end and gait cycle end; in seconds)
| %ST DUR | Stance duration (in percent; i.e. ref #15 divided by ref #11 times 100)
| Rt=0 HINDLIMBS | R between limb axis angle of the considered limb and the one of the contralateral limb (limb axis angle in XY plane – Crest-MTP) with no time shift
| DOUBLE STANCE | Double stance (in percent of gait cycle duration)
| FLIGHT | Percent of no stance (no limb touches ground) during the full gait cycle duration
| STANCE ONE LIMB | Percent of single stance (a single limb touches ground) during the full gait cycle duration
| STANCE TWO LIMBS | Percent of double stance (two limbs touch ground) during the full gait cycle duration
| STANCE THREE LIMBS | Percent of triple stance (three limbs touch ground) during the full gait cycle duration
| STANCE FOUR LIMBS | Percent of quadruple stance (four limbs touch ground) during the full gait cycle duration
| ST contra HL | Duration between gait cycle onset (of the considered limb) and stance start of contralateral limb (in percent of gait cycle)
| SW contra HL | Duration between gait cycle onset (of the considered limb) and swing start of contralateral limb (in percent of gait cycle duration)
| Rt=0 HL IPSIFL | R min between limb axis angle of the considered limb and the one of the ipsilateral forelimb (limb axis angle in XY plane – Crest-MTP)
| Rt=0 HL CONFL | R min between limb axis angle of the considered limb and the one of the contralateral forelimb (limb axis angle in XY plane – Crest-MTP)
| L STRIDE | Stride length (defined as the distance between the 3D positions of the ankle marker at gait cycle onset and gait cycle end; takes into account treadmill speed)
| L STEP | Step length (defined as the distance between the 3D positions of the ankle marker at stance end and gait cycle end (i.e. Euclidian distance travelled by ankle marker during swing); takes into account treadmill speed)
| L PATH | Path length of ankle marker (i.e. distance travelled by ankle marker from swing start to the end of the gait cycle)
| HIP-END BW | Maximum backward position (X position of crest marker minus X position of ankle marker at gait cycle time when ankle is maximally backward)
| HIP-END FW | Maximum forward position (X position of crest marker minus X position of ankle marker at gait cycle time when ankle is maximally forward)
| STEP HEIGHT nor | Normalized step height (step height subtracted by mean of the positions of ankle marker between the first 10 and 20% of the gait cycle)
| MAX ENDPOINT Vel | Maximal speed of MTP (maximal speed over the entire gait cycle; speed is the module of the time derivative of MTP marker positions on X and Y axes)
| T MAX ENDPOINT Vel | Time of maximal speed of MTP (for a normalized gait cycle duration; time of at which the maximal speed over the entire gait cycle occurs; speed is the module of the time derivative of MTP marker positions on X and Y axes)
| Acc ENDPOINT | Acceleration of MTP at swing onset (calculated as the mean acceleration over the first 5% of instantaneous accelerations during swing phase; acceleration is the module of the double time derivative of MTP marker positions on X and Y axes)
| Vel ENDPOINT | Speed of MTP at swing onset (calculated as the mean speed over the first 5% of instantaneous speeds during swing phase; speed is the module of the time derivative of MTP marker positions on X and Y axes)
| Angle Vel ENPOINT | Angular velocity of MTP at swing onset (calculated as the mean angular velocity over the first 5% of instantaneous angular velocities during swing phase; angular velocity is the arctangent of the time derivative of MTP marker positions on X and Y axes)
| T DRAG | Drag duration (defined as the duration between start of swing and end of drag; in seconds; set to 0 if negative)
| %DRAG | Drag duration in percent of swing duration
| FootLADDER_h | Relative horizontal position of the foot-rung during stance
| FootLADDER_v | Relative vertical position of the foot-rung during stance
| Perc_FootLADDER | Relative horizontal position of the foot (percent distance between rungs)
| FOOT SW LAT | Lateral displacement during swing (defined as the distance between the two positions on Z axis of the ankle marker at start and end of swing)
| STEP WIDTH | Distance between MTP markers at stance end on Z axis
| MAX HipY nor | Normalized maximal position of hip marker on Y axis
| MIN HipY nor | Normalized minimal position of hip marker on Y axis
| AMP HipY | Difference between normalized max and min positions of hip marker on Y axis
| SD MidTrunk XY | SD of mid-trunk elevation in XY plane (sagittal plane) during one gait cycle
| SD MidTrunk XY Vel | SD of velocity of mid-trunk elevation in XY plane (sagittal plane) during one gait cycle
| SD MidHip Z | SD of mid-hip on Z axis during one gait cycle
| SD MidHip Y | SD of mid-hip on Y axis during one gait cycle
| SD MidSh Y | SD of mid-shoulder on Y axis during one gait cycle
| SD MidSh Z | SD of mid-shoulder on Z axis during one gait cycle
| SD Shoulders | SD of shoulder elevation angle in XZ plane during one gait cycle
| SD Hips | SD of hip elevation angle in XZ plane during one gait cycle
| L VirtCOM fw | Difference between max and min position of the virtual COM on X axis – horizontal movement
| L VirtCOM lat | Difference between max and min position of the virtual COM on Z axis – lateral movement
| L VirtCOM vert | Difference between max and min position of the virtual COM on Y axis – vertical movement
| L VirtCOM 3D | Path length of virtual COM (i.e. distance travelled by the virtual center of mass during the full gait cycle)
| MIN ELE 1 | Min of elevation angle – Crest-Hip
| MIN ELE 2 | Min of elevation angle – Hip-Knee
| MIN ELE 3 | Min of elevation angle – Knee-Ankle
| MIN ELE 4 | Min of elevation angle – Ankle-MTP
| MIN ELE 5 | Min of elevation angle – MTP-TIP
| MIN ELE 6 | Min of limb axis angle in XY plane – Crest-MTP
| MAX ELE 1 | Max of elevation angle – Crest-Hip
| MAX ELE 2 | Max of elevation angle – Hip-Knee
| MAX ELE 3 | Max of elevation angle – Knee-Ankle
| MAX ELE 4 | Max of elevation angle – Ankle-MTP
| MAX ELE 5 | Max of elevation angle – MTP-TIP
| MAX ELE 6 | Max of limb axis angle in XY plane – Crest-MTP
| MAX JOINT 1 | Max of joint angle – Hip
| MAX JOINT 2 | Max of joint angle – Knee
| MAX JOINT 3 | Max of joint angle – Ankle
| MAX JOINT 4 | Max of joint angle – MTP
| MAX LIMBLAT | Max of lateral limb axis angle in YZ plane – Crest-MTP
| MAX FOOTROT | Max of foot angle in XZ plane – Ankle-TIP
| MIN JOINT 1 | Min of joint angle – Hip
| MIN JOINT 2 | Min of joint angle – Knee
| MIN JOINT 3 | Min of joint angle – Ankle
| MIN JOINT 4 | Min of joint angle – MTP
| MIN LIMBLAT | Min of lateral limb axis angle in YZ plane – Crest-MTP
| MIN FOOTROT | Min of foot angle in XZ plane – Ankle-TIP
| AMP ELE 1 | Difference between max and min values of elevation angle – Crest-Hip
| AMP ELE 2 | Difference between max and min values of elevation angle – Hip-Knee
| AMP ELE 3 | Difference between max and min values of elevation angle – Knee-Ankle
| AMP ELE 4 | Difference between max and min values of elevation angle – Ankle-MTP
| AMP ELE 5 | Difference between max and min values of elevation angle – MTP-TIP
| AMP LIMB | Difference between max and min values of limb axis angle in XY plane – Crest-MTP
| AMP JOINT 1 | Difference between max and min values of joint angle – Hip
| AMP JOINT 2 | Difference between max and min values of joint angle – Knee
| AMP JOINT 3 | Difference between max and min values of joint angle – Ankle
| AMP JOINT 4 | Difference between max and min values of joint angle – MTP
| AMP LIMBLAT | Difference between max and min values of lateral limb axis angle in YZ plane – Crest-MTP
| AMP FOOTROT | Difference between max and min values of foot angle in XZ plane – Ankle-TIP
| MIN SPEEDLIMB 1 | Min of limb axis angle velocity (in XY plane – Crest-MTP)
| MIN SPEEDJOINT 1 | Min of joint angle velocity – Hip
| MIN SPEEDJOINT 2 | Min of joint angle velocity – Knee
| MIN SPEEDJOINT 3 | Min of joint angle velocity – Ankle
| MIN SPEEDJOINT 4 | Min of joint angle velocity – MTP
| MAX SPEEDLIMB 1 | Max of limb axis angle velocity (in XY plane – Crest-MTP)
| MAX SPEEDJOINT 1 | Max of joint angle velocity – Hip
| MAX SPEEDJOINT 2 | Max of joint angle velocity – Knee
| MAX SPEEDJOINT 3 | Max of joint angle velocity – Ankle
| MAX SPEEDJOINT 4 | Max of joint angle velocity – MTP
| AMP SPEEDLIMB 1 | Difference between max and min values of limb axis angle velocity (in XY plane – Crest-MTP)
| AMP SPEEDJOINT 1 | Difference between max and min values of joint angle velocity – Hip
| AMP SPEEDJOINT 2 | Difference between max and min values of joint angle velocity – Knee
| AMP SPEEDJOINT 3 | Difference between max and min values of joint angle velocity – Ankle
| AMP SPEEDJOINT 4 | Difference between max and min values of joint angle velocity – MTP
| PC1 | PC1 variance resulting from PCA applied on elevation angles of the hindlimb
| PH2 PH1 | Difference between phases of two elevation angles: Hip-Knee minus Crest-Hip
| PH3 PH2 | Difference between phases of two elevation angles: Knee-Ankle minus Hip-Knee
| PH4 PH3 | Difference between phases of two elevation angles: Ankle-MTP minus Knee-Ankle
| PH5 PH4 | Difference between phases of two elevation angles: MTP-TIP minus Ankle-MTP
| R CREST-THIGH | R max between Crest-Hip and Hip-Knee elevation angles
| R THIGH-LEG | R max between Hip-Knee and Knee-Ankle elevation angles
| R LEG-FOOT | R max between Knee-Ankle and Ankle-MTP elevation angles
| R FOOT - TOE | R max between Ankle-MTP and MTP-TIP elevation angles
| R HIP-KNEE | R max between Hip and Knee angles
| R KNEE-ANKLE | R max between Knee and Ankle angles
| R ANKLE-MTP | R max between Ankle and MTP angles
| CREST-THIGH timingMIN | Duration between min of Crest-Hip elevation angle and min of Hip-Knee elevation angle (in percent of gait cycle duration; [-50;50])
| CREST-THIGH timingMAX | Duration between max of Crest-Hip elevation angle and max of Hip-Knee elevation angle (in percent of gait cycle duration; [-50;50])
| THIGH-LEG timingMIN | Duration between min of Hip-Knee elevation angle and min of Knee-Ankle elevation angle (in percent of gait cycle duration; [-50;50])
| THIGH-LEG timingMAX | Duration between max of Hip-Knee elevation angle and max of Knee-Ankle elevation angle (in percent of gait cycle duration; [-50;50])
| LEG-FOOT timingMIN | Duration between min of Knee-Ankle elevation angle and min of Ankle-MTP elevation angle (in percent of gait cycle duration; [-50;50])
| LEG-FOOT timingMAX | Duration between max of Knee-Ankle elevation angle and max of Ankle-MTP elevation angle (in percent of gait cycle duration; [-50;50])
| FOOT-TOE timingMIN | Duration between min of Ankle-MTP elevation angle and min of MTP-TIP elevation angle (in percent of gait cycle duration; [-50;50])
| FOOT-TOE timingMAX | Duration between max of Ankle-MTP elevation angle and max of MTP-TIP elevation angle (in percent of gait cycle duration; [-50;50])
| Yfor STANCE | Mean force during stance phase on Y axis
| Zfor STANCE | Mean force during stance phase on Z axis
| Xfor STANCE | Mean force during stance phase on X axis
| BWS | BWS (body weight support; in percent)
| LIMB_lag | Lag between limb axis angle of reference vs considered limb (limb axis angle in XY plane – Crest-MTP) for minimal R
| LIMB_R | R min between limb axis angle of reference limb and the one of the considered limb (limb axis angle in XY plane – Crest-MTP)
| HIP lag | Lag between Hip angle of reference vs considered limb for minimal R
| HIP R | R min between Hip angle of reference vs considered limb
| KNEE lag | Lag between Knee angle of reference vs considered limb for minimal R
| KNEE R | R min between Knee angle of reference s considered limb
| ANKLE lag | Lag between Ankle angle of reference vs considered limb for minimal R
| ANKLE R | R min between Ankle angle of reference vs considered limb
| MTP lag | Lag between MTP angle of reference vs considered limb for minimal R
| MTP R | R min between MTP angle of reference vs considered limb
| STANCE | Time at stance end / swing onset (if not defined, computed as the time when the angle amplitude of the limb axis is minimal; in seconds)
| STEP HEIGHT | Step height (maximal position of ankle marker on Y axis)
| T DRAG END | Time of drag end
| PC2 | PC2 variance resulting from PCA applied on elevation angles of the limb
| PC3 | PC3 variance resulting from PCA applied on elevation angles of the limb
| PC4 | PC4 variance resulting from PCA applied on elevation angles of the limb
| PCA5 | PC5 variance resulting from PCA applied on elevation angles of the limb
| PC1 | PC1 variance resulting from PCA on elevation angles of the two hindlimbs
| PC2 | PC2 variance resulting from PCA on elevation angles of the two hindlimbs
| PC3 | PC3 variance resulting from PCA on elevation angles of the two hindlimbs
| PC4 | PC4 variance resulting from PCA on elevation angles of the two hindlimbs
| LAG HINDLIMBS | Lag between limb axis angle of the considered limb and the one of the contralateral limb (limb axis angle in XY plane – Crest-MTP) for minimal R
| LAG HL IPSIFL | Lag between limb axis angle of the considered limb and the one of the ipsilateral forelimb (limb axis angle in XY plane – Crest-MTP) for minimal R
| LAG HL CONFL | Lag between limb axis angle of the considered limb and the one of the contralateral forelimb (limb axis angle in XY plane – Crest-MTP) for minimal R
| PH1 | Phase of elevation angle Crest-Hip at maximal amplitude (obtained by FFT)
| AMP1 | Maximal amplitude of elevation angle Crest-Hip (obtained by FFT)
| PH2 | Phase of elevation angle Hip-Knee at maximal amplitude (obtained by FFT)
| AMP2 | Maximal amplitude of elevation angle – Hip-Knee (obtained by FFT)
| PH3 | Phase of elevation angle Knee-Ankle at maximal amplitude (obtained by FFT)
| AMP3 | Maximal amplitude of elevation angle – Knee-Ankle (obtained by FFT)
| PH4 | Phase of elevation angle Ankle-MTP at maximal amplitude (obtained by FFT)
| AMP4 | Maximal amplitude of elevation angle – Ankle-MTP (obtained by FFT)
| PH5 | Phase of elevation angle MTP-TIP at maximal amplitude (obtained by FFT)
| AMP5 | Maximal amplitude of elevation angle – MTP-TIP (obtained by FFT)
| LAG CREST-THIGH | Lag between Crest-Hip and Hip-Knee elevation angles for maximal R
| LAG THIGH-LEG | Lag between Hip-Knee and Knee-Ankle elevation angles for maximal R
| LAG LEG-FOOT | Lag between Knee-Ankle and Ankle-MTP elevation angles for maximal R
| LAG FOOT - TOE | Lag between Ankle-MTP and MTP-TIP elevation angles for maximal R
| LAG HIP-KNEE | Lag between Hip and Knee angles for maximal R
| LAG KNEE-ANKLE | Lag between Knee and Ankle angles for maximal R
| LAG ANKLE-MTP | Lag between Ankle and MTP angles for maximal R
| Kin AVE | ‘0’ if gait cycle is rejected, ‘1’ otherwise
| Xfor singleSTANCE | Mean force during single support stance phase on X axis
| Yfor singleSTANCE | Mean force during single support stance phase on Y axis
| Zfor singleSTANCE | Mean force during single support stance phase on Z axis
| Stance IPSIFORE | Duration between gait cycle onset (of the considered limb) and stance start of forelimb on the same side (in percent of gait cycle)
| Swing IPSIFORE | Duration between gait cycle onset (of the considered limb) and swing start of forelimb on the same side (in percent of gait cycle)
| Stance CONTRAFORE | Duration between gait cycle onset (of the considered limb) and stance start of contralateral forelimb (in percent of gait cycle)
| Swing CONTRAFORE | Duration between gait cycle onset (of the considered limb) and swing start of contralateral forelimb (in percent of gait cycle)
| MAX JOINT TRUNK | Max of joint angle – Trunk
| MIN JOINT TRUNK | Min of joint angle – Trunk
| AMP JOINT TRUNK | Difference between max and min values of joint angle – Trunk
| MAX SPEEDJOINT TRUNK | Max of joint angle velocity – Trunk
| MIN SPEEDJOINT TRUNK | Min of joint angle velocity – Trunk
| AMP SPEEDJOINT TRUNK | Difference between max and min values of joint angle velocity – Trunk
| SD DURATION | SD of the duration of gait cycle (in seconds)
| SD STRIDE | SD of the stride length (defined as the distance between the 3D positions of the ankle marker at gait cycle onset and gait cycle end; takes into account treadmill speed)
| SD ST DUR | SD of stance duration (time between gait cycle onset and stance end; in seconds)
| SD SW DUR | SD of swing duration (time between stance end and gait cycle end; in seconds)
| SD WIDTH | SD of the distance between MTP markers at stance end on Z axis
| SD SD TRUNKsag | SD of the SD on mid-trunk elevation in XY plane (sagittal plane) during one gait cycle
| SD SD TRUNKsag SPEED | SD of the SD on mid-trunk elevation in XY plane (sagittal plane) during one gait cycle
| SD NOR STEP HEIGHT | SD of the normalized step height (step height subtracted by mean of the positions of ankle marker between the first 10 and 20% of the gait cycle)
| SD HIP-END BW | SD of the maximal backward position (X position of crest marker minus X position of ankle marker at gait cycle time when ankle is maximally backward)
| SD HIP-END FW | SD of the maximal forward position (X position of crest marker minus X position of ankle marker at gait cycle time when ankle is maximally forward)
| SD ST contra HL | SD of the duration between gait cycle onset (of the considered limb) and stance start of contralateral limb (in percent of gait cycle)
| SD PATH LENGTH | SD of the path length of ankle marker (i.e. distance travelled by ankle marker from swing start to the end of the gait cycle)
| SD PEAK ENDPOINT VEL | SD of the maximal speed of MTP (maximal speed over the entire gait cycle; speed is the module of the time derivative of MTP marker positions on X and Y axes)
| SD TIME PEAK Vend | SD on the time of maximal speed of MTP (for a normalized gait cycle duration; time of at which the maximal speed over the entire gait cycle occurs; speed is the module of the time derivative of MTP marker positions on X and Y axes)
| SD DRAG DUR | SD of drag duration (defined as the duration between start of swing and end of drag; in seconds; set to ‘0’ if negative)
| SD PH2 PH1 | SD of the difference between phases of two elevation angles: Hip-Knee minus Crest-Hip
| SD PH3 PH2 | SD of the difference between phases of two elevation angles: Knee-Ankle minus Hip-Knee
| SD PH4 PH3 | SD of the difference between phases of two elevation angles: Ankle-MTP minus Knee-Ankle
| SD PH5 PH4 | SD of the difference between phases of two elevation angles: MTP-TIP minus Ankle-MTP
| SD DOULBE STANCE | SD of double stance duration (in percent of gait cycle duration)
| SD Acc ENDPOINT | SD of the acceleration of MTP at swing onset (calculated as the mean acceleration over the first 5% of instantaneous accelerations during swing phase; acceleration is the module of the double time derivative of MTP marker positions on X and Y axis)
| SD V enpoint | SD of the speed of MTP at swing onset (calculated as the mean speed over the first 5% of instantaneous speeds during swing phase; speed is the module of the time derivative of MTP marker positions on X and Y axes)
| SD angle V endpoint | SD of the angular velocity of MTP at swing onset (calculated as the mean angular velocity over the first 5% of instantaneous angular velocities during swing phase; angular velocity is the arctangent of the time derivative of MTP marker positions on X and Y axes)

## _RIGHT_HL.txt & _LEFT_HL.txt
For each limb (i.e. for each file), means and standard deviations of computed angles (angles values over during a gait cycle are resampled to 100 samples and averaged over the non-rejected gait cycles). 1 row represent 1% of the mean gait cycle.
Group | String | Comments
| MEAN CREST | Mean of elevation angle – Crest-Hip
| MEAN THIGH | Mean of elevation angle – Hip-Knee
| MEAN LEG | Mean of elevation angle – Knee-Ankle
| MEAN FOOT | Mean of elevation angle – Ankle-MTP
| MEAN TOE | Mean of elevation angle – MTP-TIP
| MEAN LIMB | Mean of limb axis angle in XY plane – Crest-MTP; corrected for backward stepping (i.e. multiplied by ‘-1’); corrected for sideward stepping (i.e. set to value from column 11)
| MEAN HIP | Mean of joint angle – Hip
| MEAN KNEE | Mean of joint angle – Knee
| MEAN ANKLE | Mean of joint angle – Ankle
| MEAN MTP | Mean of joint angle – MTP
| MEAN AB/AD_PELVIS | Mean of limb axis angle in YZ plane – Crest-MTP
| MEAN ROT_PELVIS | Mean of foot angle in XZ plane – Ankle-TIP
| SD CREST | SD of elevation angle – Crest-Hip
| SD THIGH | SD of elevation angle – Hip-Knee
| SD LEG | SD of elevation angle – Knee-Ankle
| SD FOOT | SD of elevation angle – Ankle-MTP
| SD TOE | SD of elevation angle – MTP-TIP
| SD LIMB | SD of limb axis angle in XY plane – Crest-MTP; corrected for backward stepping (i.e. multiplied by ‘-1’); corrected for sideward stepping (i.e. set to value from column 11)
| SD HIP | SD of joint angle – Hip
| SD KNEE | SD of joint angle – Knee
| SD ANKLE | SD of joint angle – Ankle
| SD MTP | SD of joint angle – MTP
| SD AB/AD_PELVIS | SD of limb axis angle in YZ plane – Crest-MTP
| SD ROT_PELVIS | SD of foot angle in XZ plane – Ankle-TIP

## _RIGHT_FL.txt & _LEFT_FL.txt
For each limb (i.e. for each file), means and standard deviations of computed angles (angles values over during a gait cycle are resampled to 100 samples and averaged over the non-rejected gait cycles. 1 row represent 1% of the mean gait cycle
Group | String | Comments
| MEAN SCAPULA | Mean of elevation angle – Scap-Shoulder
| MEAN ARM | Mean of elevation angle – Shoulder-Elbow
| MEAN FOREARM | Mean of elevation angle – Elbow-Wrist
| MEAN HAND | Mean of elevation angle – Wrist-Toe
| MEAN EMPTY | ‘0’
| MEAN LIMB | Mean of limb axis angle in XY plane – Scap-Wrist
| MEAN SCAP | Mean of joint angle – Scap
| MEAN SHOULDER | Mean of joint angle – Shoulder
| MEAN ELBOW | Mean of joint angle – Elbow
| MEAN WRIST | Mean of joint angle – Wrist
| MEAN LAT-LIMB | Mean of limb axis angle in YZ plane – Scap-Elbow
| MEAN EMPTY | ‘0’
| SD SCAPULA | SD of elevation angle – Scap-Shoulder
| SD ARM | SD of elevation angle – Shoulder-Elbow
| SD FOREARM | SD of elevation angle – Elbow-Wrist
| SD HAND | SD of elevation angle – Wrist-Toe
| SD EMPTY | ‘0’
| SD LIMB | SD of limb axis angle in XY plane – Scap-Wrist
| SD SCAP | SD of joint angle – Scap
| SD SHOULDER | SD of joint angle – Shoulder
| SD ELBOW | SD of joint angle – Elbow
| SD WRIST | SD of joint angle – Wrist
| SD LAT-LIMB | SD of limb axis angle in YZ plane – Scap-Elbow
| SD EMPTY | ‘0’

## _KIN.txt
For bipedal case, save angles and kinematics values for each gait cycle. 1 row is one gait cycle.
Group | String | Comments
| FRAME | Time index
| TIME | FRAME divided by acquisition frequency
| ELEV Crest | Elevation angle – Crest-Hip
| ELEV Thigh | Elevation angle – Hip-Knee
| ELEV Leg | Elevation angle – Knee-Ankle
| ELEV Foot | Elevation angle – Ankle-MTP
| ELEV Toe | Elevation angle – MTP-TIP
| Hindlimb | Limb axis angle in XY plane – Crest-MTP; corrected for backward stepping (i.e. multiplied by ‘-1’); corrected for sideward stepping
| JOINT Hip | Joint angle – Hip
| JOINT Knee | Joint angle – Knee
| JOINT Ankle | Joint angle – Ankle
| JOINT MTP | Joint angle – MTP
| Hindlimb_LAT | Limb axis angle in YZ plane – Crest-MTP
| Foot_ROT | Foot angle in XZ plane – Ankle-TIP
Scap left X
Scap left Y
Scap left Z
Crest left X
Crest left Y
Crest left Z
Hip left X
Hip left Y
Hip left Z
Knee left X
Knee left Y
Knee left Z
Ankle left X
Ankle left Y
Ankle left Z
MetaTarso left X
MetaTarso left Y
MetaTarso left Z
TIP left X
TIP left Y
TIP left Z
Scap right X
Scap right Y
Scap right Z
Crest right X
Crest right Y
Crest right Z
Hip right X
Hip right Y
Hip right Z
Knee right X
Knee right Y
Knee right Z
Ankle right X
Ankle right Y
Ankle right Z
MetaTarso right X
MetaTarso right Y
MetaTarso right Z
TIP right X
TIP right Y
TIP right Z

## _KINA.txt
For quadrupedal case, save angles and kinematics values for each gait cycle. 1 row is one gait cycle.
Group | String | Comments
| FRAME | Time index
| TIME | FRAME divided by acquisition frequency
| ELEV Crest | Elevation angle – Crest-Hip
| ELEV Thigh | Elevation angle – Hip-Knee
| ELEV Leg | Elevation angle – Knee-Ankle
| ELEV Foot | Elevation angle – Ankle-MTP
| ELEV Toe | Elevation angle – MTP-TIP
| Hindlimb | Limb axis angle in XY plane – Crest-MTP; corrected for backward stepping (i.e. multiplied by ‘-1’); corrected for sideward stepping
| JOINT Hip | Joint angle – Hip
| JOINT Knee | Joint angle – Knee
| JOINT Ankle | Joint angle – Ankle
| JOINT MTP | Joint angle – MTP
| Hindlimb_LAT | Limb axis angle in YZ plane – Crest-MTP
| Foot_ROT | Foot angle in XZ plane – Ankle-TIP
| ELEV ScapulaL | LFL, Elevation angle – Scap-Shoulder
| ELEV ArmL | LFL, Elevation angle – Shoulder-Elbow
| ELEV ForearmL | LFL, Elevation angle – Elbow-Wrist
| ELEV HandL | LFL, Elevation angle – Wrist-Toe
| ELEV FingerL | ‘0’
| ForelimbL | LFL, Limb axis angle in XY plane – Scap-Wrist
| JOINT ScapL | LFL, Joint angle – Scap
| JOINT ShoulderL | LFL, Joint angle – Shoulder
| JOINT ElbowL | LFL, Joint angle – Elbow
| JOINT WristL | LFL, Joint angle – Wrist
| ForelimbL_LAT | LFL, Limb axis angle in YZ plane – Scap-Elbow
| EMPTY | ‘0’
| ELEV ScapulaR | RFL, Elevation angle – Scap-Shoulder
| ELEV ArmR | RFL, Elevation angle – Shoulder-Elbow
| ELEV ForearmR | RFL, Elevation angle – Elbow-Wrist
| ELEV HandR | RFL, Elevation angle – Wrist-Toe
| ELEV FingerR | ‘0’
| ForelimbR | RFL, Limb axis angle in XY plane – Scap-Wrist
| JOINT ScapR | RFL, Joint angle – Scap
| JOINT ShoulderR | RFL, Joint angle – Shoulder
| JOINT ElbowR | RFL, Joint angle – Elbow
| JOINT WristR | RFL, Joint angle – Wrist
| ForelimbR_LAT | RFL, Limb axis angle in YZ plane – Scap-Elbow
| EMPTY | ‘0’
Shoulder left X
Shoulder left Y
Shoulder left Z
Crest left X
Crest left Y
Crest left Z
Hip left X
Hip left Y
Hip left Z
Knee left X
Knee left Y
Knee left Z
Ankle left X
Ankle left Y
Ankle left Z
MetaTarso left X
MetaTarso left Y
MetaTarso left Z
TIP left X
TIP left Y
TIP left Z
Shoulder right X
Shoulder right Y
Shoulder right Z
Crest right X
Crest right Y
Crest right Z
Hip right X
Hip right Y
Hip right Z
Knee right X
Knee right Y
Knee right Z
Ankle right X
Ankle right Y
Ankle right Z
MetaTarso right X
MetaTarso right Y
MetaTarso right Z
TIP right X
TIP right Y
TIP right Z
Elbow left X
Elbow left Y
Elbow left Z
Wrist left X
Wrist left Y
Wrist left Z
Elbow right X
Elbow right Y
Elbow right Z
Wrist right X
Wrist right Y
Wrist right Z
Scap left X
Scap left Y
Scap left Z
Scap right X
Scap right Y
Scap right Z
T12 X
T12 Y
T12 Z
HeadFront X
HeadFront Y
HeadFront Z
Ear left X
Ear left Y
Ear left Z
Ear right X
Ear right Y
Ear right Z
Toe left X
Toe left Y
Toe left Z
Toe right X
Toe right Y
Toe right Z
Trunk X
Trunk Y
Trunk Z

## _EMG.txt
EMG data for each gait cycle. 1 row is one gait cycle.
Group | String | Comments
| FRAME | Time index
| TIME | FRAME divided by acquisition frequency
| CHAN_onset | Onset time of EMG burst
| CHAN_end | Offset time of EMG burst
| CHAN_%onset | Onset time of EMG burst in percent of the gait duration
| CHAN_%end | Offset time of EMG burst in percent of the gait duration
| CHAN_burst duration | Burst duration (Offset time minus Onset time)
| CHAN_meanAMP | Mean amplitude of rectified EMG during burst
| CHAN_iEMG | Area under the curve of rectified EMG during burst (using trapeze method)
| CHAN_RMS | Root mean square of rectified EMG during burst

## _FORCE.txt
Force data for each gait cycle. 1 row is one gait cycle.
Group | String | Comments
| FRAME | Time index
| TIME | FRAME divided by acquisition frequency (handles.freq)
Force X
Force Y
Force Z
Moment X
Moment Y
Moment Z

## _NEU.txt
Neuron data for each gait cycle. 1 row is one gait cycle.
Group | String | Comments
| FRAME | Time index
| TIME | FRAME divided by acquisition frequency (handles.freq)
Neu#1
Neu#2
Neu#3
Neu#...